## Hoja1
PROPIEDAD | TIPO | DESCRIPCION
alarms[150] | bool | ARRAY DE ALARMAS
busAvailable | bool | BUS AVAILABLE
busBrk | bool | BUS BREAKER CLOSE
busLive | bool | BUS LIVE
commError | bool | ERROR DE COMUNICACION
commonAlarm | bool | ********
genAvailable | bool | GEN AVAILABLE
genBrk | bool | GEN BREAKER CLOSE
loadOn | bool | LOAD ON
mainBrk | bool | MAIN BREAKER CLOSE
mainsAvailable | bool | MAINS AVAILABLE
model | int | MODELO (UTILIZAR MACROS: DSE_8660MKII, DSE_8610MKII)
battery | unsigned int | BATTERY
busHZ | unsigned int | FRECUENCIA DEL BUS
busP | unsigned int | PORCIENTO DE CARGA DEL BUS
busPhRot | unsigned int | ROTACION DE FASE DEL BUS
coolantTemperature | unsigned int | COOLANT TEMPERATURE
engineSpeed | unsigned int | ENGINE SPEED
fuelLevel | unsigned int | FUEL LEVEL
gensOnline | unsigned int | GENS EN LINEA
HZ | unsigned int | FRECUENCIA
mastersOnline | unsigned int | MASTERS EN LINEA
mode | unsigned int | MODO
oilPressure | unsigned int | OIL PRESSURE
P | unsigned int | PORCIENTO DE CARGA
PF | unsigned int | FACTOR DE POTENCIA
PhRot | unsigned int | ROTACION DE FASE
priority | unsigned int | PRIORIDAD
qualityMSC | unsigned int | CALIDAD DE MSC
busKW | unsigned long | BUS KW
busL1L2 | unsigned long | BUS VOLTAJE L1-L2
busL1N | unsigned long | BUS VOLTAJE L1-N
busL2L3 | unsigned long | BUS VOLTAJE L2-L3
busL2N | unsigned long | BUS VOLTAJE L2-N
busL3L1 | unsigned long | BUS VOLTAJE L3-L1
busL3N | unsigned long | BUS VOLTAJE L3-N
busLLAVR | unsigned long | BUS L-L AVERAGE
busLNAVR | unsigned long | BUS L-N AVERAGE
engineRuntime | unsigned long | ENGINE RUNTIME
IL1 | unsigned long | CORRIENTE L1
IL2 | unsigned long | CORRIENTE L2
IL3 | unsigned long | CORRIENTE L3
KVA | unsigned long | KVA
KVAR | unsigned long | KVAR
KW | unsigned long | KW
L1L2 | unsigned long | VOLTAJE L1-L2
L1N | unsigned long | VOLTAJE L1-N
L2L3 | unsigned long | VOLTAJE L2-L3
L2N | unsigned long | VOLTAJE L2-N
L3L1 | unsigned long | VOLTAJE L3-L1
L3N | unsigned long | VOLTAJE L3-N
LLAVR | unsigned long | L-L AVERAGE
numberOfStarts | unsigned long | NUMBER OF STARTS
time | unsigned long | RTC
V | unsigned long | VOLTAJE